## Additional Fields by Check
DQM Check | sample_type_code | sample_matrix_code | sample_delivery_group** | sample_date | parent_sample_code | chain_of_custody*** | reportable_result | result_type_code | sys_sample_code | lab_anl_method_name | lab_matrix_code | cas_rn | analysis_date | total_or_dissolved | test_type | dilution_factor | detect_flag | result_value | result_unit | reporting_detection_limit* | detection_limit_unit | method_detection_limit | prep_method | preservative_date | preservative | leachate_date | prep_date | percent_moisture | minimum_detectable_conc | result_error_delta | uncertainty | qc_rpd | qc_rsd | qc_rpd_CL+ | qc_spike_recovery (++ for RPD and RSD checks) | qc_dup_spike_recovery (++ for RPD and RSD checks) | qc_spike_lcl + (required for Radiochemistry Tracer Recovery check) | qc_spike_ucl + (Required for Radiochemistry Tracer Recovery check) | qc_original_conc ++ | qc_spike_added ++ | qc_spike_measured ++ | qc_dup_original_conc ++ | qc_dup_spike_added ++ | qc_dup_spike_measured ++ | test_batch_type | test_batch_id
Batch Completeness | • | [5 empty] | • | • |  | • |  |  | • |  | • | [29 empty] | • | •
Dilution Factor | • | [5 empty] | • | • | [7 empty] | • | • | [27 empty] | •
Dissolved Vs Total | • | [5 empty] | • | • |  | • |  | • |  | • | [5 empty] | • | [24 empty] | •
Estimated results | • | [5 empty] | • | • | [8 empty] | • | • |  | • |  | • | [22 empty] | •
Field Blank Contamination | • | • | • |  |  |  | • | • |  | • |  | • |  | • |  |  | • | • | • | • |  |  | • | [21 empty] | •
Holding Times | • | • |  | • |  |  | • | • |  | • | • |  | • | [9 empty] | • | • | • | • | • | [17 empty] | •
Lab Blank Contamination | • | • |  |  |  |  | • | • |  | • |  | • |  | • |  |  | • | • | • | • |  |  | • | [21 empty] | • | •
Numeric Results | [6 empty] | • | • | [9 empty] | • | • | [25 empty] | •
Percent Solids | • | • |  |  |  |  | • | • | [19 empty] | • | [16 empty] | •
Preservative | • | [5 empty] | • | • |  | • | [6 empty] | • | [7 empty] | • | [19 empty] | •
Radiochemistry Estimated results | [6 empty] | • | • | [8 empty] | • | • | [10 empty] | • | • | • | [13 empty] | •
Radiochemistry Relative Error Ratio | • | • |  |  | • |  | • | • |  |  |  | • | [5 empty] | • | [11 empty] | • | • | [13 empty] | •
Radiochemistry Tracer Recovery | [6 empty] | • | • |  | • | [24 empty] | • |  | • | • | [6 empty] | •
Relative Percent Difference (RPD) | • | • |  |  | • |  | • | • |  | • |  | • |  |  |  |  | • | • |  | • |  |  | • | [8 empty] | • |  | • | • | • | [8 empty] | • | •
Field Duplicate RPD | • | • |  |  | • |  | • | • |  | • |  | • |  |  |  |  | • | • |  | • |  |  | • | [21 empty] | •
Relative Standard Deviation (RSD) | • | • |  |  | • |  | • | • |  | • |  | • |  |  |  |  | • | • |  | • |  |  | • | [9 empty] | • |  | • | • | [8 empty] | • | •
Repeated Results | [6 empty] | • | • | • | • |  | • |  | • | • | [29 empty] | •
Repeated Results from Two Methods | [6 empty] | • | • | • |  |  | • |  | • | [30 empty] | •
Required Detection Limit | • | • |  |  |  |  | • | • |  |  |  | • |  |  |  | • | • | • |  | • | • | [23 empty] | •
Lab versus Field RPD | • | • |  |  |  |  | • | • |  |  |  | • | [5 empty] | • | [26 empty] | •
Spike Recovery - Multiple Rules | • | • |  |  | • |  | • | • |  | • |  | • |  |  |  | • | [6 empty] | • | [11 empty] | • | • | • | • | • | • | • | • | • | • | • | •
Surrogate Recovery |  | • |  |  |  |  | • | • |  | • |  | • |  |  |  | • | [6 empty] | • | [11 empty] | • |  | • | • | [6 empty] | •
Trip Blank Contamination | • | • |  |  |  | • | • | • |  | • |  | • |  | • |  |  | • | • | • | • |  |  | • | [21 empty] | •
Verify Sample Units | [6 empty] | • | • | [10 empty] | • | [25 empty] | •
Color Code Legend:
In LabSample_v1
In TestResults_V1 and TestResultsQC_v1
In TestResultsQC_v1
In TestBatch_v1
Symbolic Legend:
* As defined by the PARAM_VALUE for the PARAM_CODE for the check for the detection limit
** Order of automated association first done using DT_FIELDQC_BATCH_PARTNER, then DT_SAMPLE.FIELD_SDG and lastly DT_SAMPLE.CHAIN_OF_CUSTODY, using the first association found
*** Order of automated association first done using DT_FIELDQC_BATCH_PARTNER, then DT_SAMPLE.CHAIN_OF_CUSTODY, and lastlly DT_SAMPLE_FIELD_SDG, using the first association found
+ If using lab limits to evaluate data
++ If DQM is performing a calculation