## RefVal Review Instructions
Approver Name:
Approval Date:
Table Legend:
Primary Key & Required
Required
Format Name: RefVals
Format Version: EQEDD
Need to be agreed with laboratory(ies)
TAB COLOR |  | Critical and must be reviewed by business; has heavy implications on workflow, data submission, and data reporting
TAB COLOR |  | Important but not critical
TAB COLOR |  | Should be reviewed but will not affect data submission or reporting
TAB COLOUR |  | Low priority tables, which may not be required in all situations
TAB COLOUR |  | Tables relating to other standard EQuIS formats
GENERAL NOTES:
The tables are primarily based on the EQEDD format
The reference value lists can be added to at any time. Changing a reference value once data has been entered is more difficult
The sheets with darker shaded tab colours will need to be agreed with the laboratory(s)
The values within these sheets are intended to be GUIDE ONLY, and are based on values within the EarthSoft training database 'Springfield'.
Not all tables will be applicable to a particular facility
These cells have 'comments' with additional information regarding the entry. Hover the mouse over the cell to view the comment
Check matrix class - state, eg solid, liquid etc or lab and field??
Note on A29: nicky arthur: Example

## INDEX
Tab | Status | Required | Work With Lab | Notes
rt_action _level_type |  | Yes | No
rt_analyte |  | Yes | Yes | List should come from the labs
rt_analyte_detail |  | No | No | used in calculated water level reporting when there is LNAPL - if exact elevations are recorded
rt_analytic_method |  | Yes | Yes | List should come from the labs
rt_basin |  | No | No | Contains codes (nominally HUC codes) to identify major and minor basins; is a location, used on reports
rt_company_type |  | Yes | No
rt_company |  | Yes | No
rt_coord_elev_datum |  | No | No | Table containing specific information regarding the reference datum for elevation measurements
rt_coord_elev_method |  | Yes | No | Table containing specific information regarding the method used to determine elevation
rt_coord_geometric_type |  | No | No | Table containing specific information regarding the code that defines the geometric entity represented (i.e. Point) some custom GIS that allows a coordinate to be other than a point
rt_coord_horz_datum |  | No | No | Table containing information regarding the horizontal reference datum
rt_coord_horz_method |  | No | No | Table containing information regarding the horizontal datum
rt_coord_type |  | Yes | No | MUST use lat/long to use Google Earth mapping reports - but defines what coordinate system to pass to other software such as ArcGIS
rt_coord_verification |  | No | No
rt_downhole_point_param_type
rt_file_type |  | Yes | No | Contains identifications of file types, nominally extensions (e.g., JPG, TIF, etc.) The type may be associated with an application.
rt_fraction |  | Yes | Yes
rt_geo_unit_type |  | No | No
rt_geologic_unit |  | Yes | No | Geologic units (superset of layers defined in dt_lithology). May include stratigraphy, soil horizons, MODFLOW layers, etc.
rt_group |  | No | No | Reference table for user-defined facility, location, material, and analyte groups; parent table to RT_GROUP_MEMBER and child table to ST_GROUP_TYPE
rt_group_member |  | No | No | Reference table for members of RT_GROUP
rt_location_param_type |  | No | No | Reference table for location parameter types, e.g., Section, Township, and Range; parent table to DT_LOCATION_PARAMETER meta data to locations (WellLocked - an activity item for field personnel)
rt_location_type |  | Yes | No | Reference table for types of sampling locations; parent table to DT_LOCATION type of location - makes filtering easier - MW, RW (monitoring well, residential well are examples)
rt_lookup |  | No | No | Allows EDP to enforce a set of lookup values.
rt_material |  | Yes | No | Materials used to classify layers in dt_lithology. Materials may be grouped (AASHTO, USCS, USDA, etc.) in rt_group using group_type=material_name.
rt_matrix |  | Yes | No | Stores data pertaining to the type of sample being collected.
rt_matrix_class |  | Yes | No | This table stores data that Identifies the medium of the matrix (e.g. soil, water, sediment). If populated may be used as a filter to provide short lists in selection of matrix
rt_medium |  | Yes | No
rt_mth_anl_group |  | Yes | No
rt_mth_anl_group_member |  | Yes | No | This table stores information regarding location groups. Groups of parameters you will want to 'group by'
rt_prep_method |  | Yes | Yes | This table describes the laboratory sample preparation method
rt_qualifier |  | Yes | Yes | Qualifiers are split into single-character qualifiers and the table has organic fields and inorganic fields (so each qualifier only appears once in the table). A trigger is used to enforce referential integrity in dt_result.
rt_result_type |  | Yes | Yes | Target Analyte, Surrogates, Spike compounds - comes from labs - uses to deselect lab result types when reporting only targets
rt_sample_method |  | Yes | No | This table contains information about the different sample methods used. Method used to take sample - field method
rt_sample_param_type |  | No | No | meta data to a sample - example of a fish sample may be age, weight, sex, ect - may be numeric but allows non numeric resuls
rt_sample_type |  | Yes | Yes | Normal, Field Duplicate, Lab Spike - codes to allow reporting to possibly deselect the lab type samples (special column 'requires parent sample') Requires parent sample to enforce loading samples identified to it's original source A Matrix Spike is a Normal sample spiked, so the matrix spike sample would need the normal sample code if requires is set to Y Necessary for the Data Quality Module and some reports that compare Normal samples to their Field Duplicates
rt_soil_gas_param_type |  | No | No
rt_state |  | No | No
rt_subfacility_type |  | Yes | No | This table contains information about the types of subfacilities referred to in dt_subfacility.
rt_test_batch_type |  | Yes | Yes | This table describes the test batch type.
rt_test_type |  | Yes | Yes
rt_unit |  | Yes | No
rt_unit_conversion_factor |  | Yes | No
rt_valid_code |  | No | No
rt_well_segment_type |  | Yes | No

## SPMspecific
Plan
| rt_company | The department or company responsible for the task
| rt_unit | The currency for the Plan.
Contracts
| rt_company | The department or company for the Contract.
| rt_unit | The currency for the Contract
| rt_spm_container | Available containers
| rt_mth_anl_group | Available MAGs
| rt_spm_cost_calc | The cost calculation code that defines the MAG rates for the data provider
| rt_task_type | Can be used to specify the order of importance of a Contract MAG in EDGE
| rt_analytic_method | The analytic method associated with the Contract Analytic Method
Tasks
| rt_task | The type of task
| rt_lookup | rt_lookup.lookup_desc where lookup_type = spm_planned_task_state | o Lookup: rt_lookup.lookup_desc where lookup_type = spm_planned_task_state
| rt_lookup | rt_lookup.lookup_desc where lookup_type = spm_ranking_priority | o The status of the Planned Task, for example Approved, Needs Review, or Rejected.
| rt_company | The company conducting the scheduled tasks resulting from the planned task. | o Only Planned Tasks with a state value where the corresponding rt_lookup.lookup_code begins with “a_” can be scheduled.
Commitments
| rt_lookup | rt_lookup.lookup_code where lookup_type = monitor_program_lookup (lookup_desc is displayed in SPM) | o Lookup: rt_lookup.lookup_desc where lookup_type = spm_ranking_priority
| rt_lookup | rt_lookup.lookup_code where lookup_type = monitor_type_lookup (lookup_desc is displayed in SPM | o The priority of the Planned Task.
| rt_lookup | rt_lookup.lookup_code where lookup_type = spm_commitment_purpose (lookup_desc is displayed in SPM)
| rt_company | The department or company responsible for the task | rt_lookup.lookup_code where lookup_type = monitor_program_lookup (lookup_desc is displayed in SPM)
| rt_lookup | rt_lookup.lookup_code where lookup_type = authority_lookup (lookup_desc is displayed in SPM) | The monitoring program associated with the task.
| rt_lookup | rt_lookup.lookup_code where lookup_type = authority_type_lookup (lookup_desc is displayed in SPM)
| rt_lookup | rt_lookup where lookup_type = spm_commitment_report (lookup_code is displayed as report; lookup_desc is displayed as description; remark is displayed as remark in SPM) | o Lookup: rt_lookup.lookup_code where lookup_type = monitor_type_lookup (lookup_desc is displayed in SPM)
Task Recurrence
| rt_frequency | The frequency of the Scheduled Tasks that will result from the Planned Task
| rt_lookup | rt_lookup.lookup_desc where lookup_type = spm_duration | o Lookup: rt_lookup.lookup_code where lookup_type = spm_commitment_purpose (lookup_desc is displayed in SPM)
Activities
| rt_company | The department or company to perform the activity | rt_lookup.lookup_code where lookup_type = authority_lookup (lookup_desc is displayed in SPM)
| rt_task_type | Select the task type for the activity
Samples |  |  | o Lookup: rt_lookup.lookup_code where lookup_type = authority_type_lookup (lookup_desc is displayed in SPM)
| rt_company | The department or company to collect the sample
| RT_MATRIX | The matrix of the sample | o Lookup: rt_lookup where lookup_type = spm_commitment_report (lookup_code is displayed as report; lookup_desc is displayed as description; remark is displayed as remark in SPM)
| RT_SAMPLE_METHOD | The sampling method for the sample. | o Reports associated with the commitment data.
| RT_MEDIUM | The medium of the sample
o Lookup: rt_lookup.lookup_desc where lookup_type = spm_duration
Create Groups for Custom Activity Lists |  |  | o The duration in days, hours, months, or weeks of the scheduled tasks.
| ST_GROUP_TYPE | Add a row to the ST_GROUP_TYPE table and enter “spm_activity” in the GROUP_TYPE field.
| RT_LOCATION_PARAM_TYPE | Add rows in RT_LOCATION_PARAM_TYPE for each parameter to be measured or observed during the Activity. The PARAM_DESC will be displayed in EDGE when the Activity Form is selected
| RT_GROUP | Add a row to RT_GROUP and enter:
a. GROUP_CODE = a code for the Activity Form group
b. GROUP_TYPE = “SPM_ACTIVITY”
c. GROUP_DESC = the description, which will be displayed in the Activity Form drop-down list in EDGE
| RT_GROUP_MEMBER | Add a row to RT_GROUP_MEMBER for each row added to RT_LOCATION_PARAM_TYPE above and enter:
a. GROUP_CODE = the code for the Activity Form group entered above
b. MEMBER_CODE = PARAM_CODE from RT_LOCATION_PARAM_TYPE
c. MEMBER_TYPE = “spm_activity”
d. REMARK = a field type from the following:
Blank or EDGE_TEXT= Text (up to 255 characters)
EDGE_Integer= Integer (1,2,3,4,5).
EDGE_Decimal=decimal (1, 1.1, 1.22)
The List Name from the format enumeration (…-enum.xml) file (e.g. enter “Colors” if you have an enumeration list for colors)

## rt_analyte
Reviewer Name:
Review Date:
|  | #cas_rn | chemical_name | sort_order | analyte_type | organic_yn | anl_short_name | remark
| SOURCE | #Text(15) | Text(255) | Numeric | Text(20) | Text(1) | Text(20) | Text(2000)
|  | 71-43-2 | Benzene |  |  | Y | B
|  | 108-88-3 | Toluene |  |  | Y | T
|  | 100-41-4 | Ethylbenzene |  |  | Y | E
|  | 95-47-6 | o-Xylene |  |  | Y | X-o
|  | 179601-23-1 | m & p-Xylene |  |  | Y | X-m&p
|  | 1330-20-7 | Xylenes (Total) |  |  | Y
|  | AnionSum | Anion Sum |  |  | N
|  | CationSum | Cation Sum |  |  | N
|  | Hardness_CaCO3 | Hardness (CaCO3) |  |  | N
|  | IonBal | Ion Balance |  |  | N
|  | 14797-55-8 | Nitrate (NO3) |  |  | N
|  | NO2NO3N | Nitrate plus Nitrite (N) |  |  | N
|  | 14797-65-0 | Nitrite (NO2) |  |  | N
|  | TDS-calc | Total Dissolved Solids (Calc) |  |  | N | TDS-calc
|  | EC | Conductivity |  |  | N | EC
|  | pH - LAB | pH - Lab |  |  | N | PH - LAB
|  | pH - FIELD | pH - field |  |  | N | PH - FIELD
|  | DO - FIELD | Dissolved Oxygen - Field |  |  | N | DO - FIELD
|  | TEMP - FIELD | Temperature in Centigrade - Field |  |  | N | TEMP - FIELD
|  | ALKPP | Alkalinity (PP as CaCO3) |  |  | N | ALKPP
|  | ALKT | Alkalinity (Total as CaCO3) |  |  | N | ALKT
|  | ALKHCO3 | Bicarbonate (HCO3) |  |  | N | ALKHCO3
|  | ALKCO3 | Carbonate (CO3) |  |  | N | ALKCO3
|  | ALKOH | Hydroxide (OH) |  |  | N | ALKOH
|  | 14808-79-8 | Sulphate (SO4) |  |  | N | SO4
|  | 16887-00-6 | Chloride (Cl) |  |  | N | Cl
|  | 14797-65-0N | Nitrite (N) |  |  | N | NO2
|  | 14797-55-8N | Nitrate (N) |  |  | N | NO3
|  | 7440-43-9 | Cadmium |  |  | N | Cd
|  | 7429-90-5 | Aluminum |  |  | N | Al
|  | 7440-36-0 | Antimony |  |  | N | Sb
|  | 7440-38-2 | Arsenic |  |  | N | As
|  | 7440-39-3 | Barium |  |  | N | Ba
|  | 7440-41-7 | Beryllium |  |  | N | Be
|  | 7440-42-8 | Boron |  |  | N | B
|  | 7440-70-2 | Calcium (Ca) |  |  | N | Ca
|  | 7440-47-3 | Chromium (Cr) |  |  | N | Cr
|  | 7440-48-4 | Cobalt (Co) |  |  | N | Co
|  | 7440-50-8 | Copper (Cu) |  |  | N | Cu
|  | 7439-89-6 | Iron (Fe) |  |  | N | Fe
|  | 7439-92-1 | Lead (Pb) |  |  | N | Pb
|  | 7439-93-2 | Lithium (Li) |  |  | N | Li
|  | 7439-95-4 | Magnesium (Mg) |  |  | N
|  | 7439-96-5 | Manganese (Mn) |  |  | N
|  | 7439-98-7 | Molybdenum (Mo) |  |  | N
|  | 7440-02-0 | Nickel (Ni) |  |  | N
|  | 7723-14-0 | Phosphorus (P) |  |  | N
|  | 7440-09-7 | Potassium (K) |  |  | N
|  | 7782-49-2 | Selenium (Se) |  |  | N
|  | 7440-21-3 | Silicon (Si) |  |  | N
|  | 7440-22-4 | Silver (Ag) |  |  | N
|  | 7440-23-5 | Sodium (Na) |  |  | N
|  | 7440-24-6 | Strontium (Sr) |  |  | N
|  | 7704-34-9 | Sulphur (S) |  |  | N
|  | 7440-28-0 | Thallium (Tl) |  |  | N
|  | 7440-31-5 | Tin (Sn) |  |  | N
|  | 7440-32-6 | Titanium (Ti) |  |  | N
|  | 7440-61-1 | Uranium (U) |  |  | N
|  | 7440-62-2 | Vanadium (V) |  |  | N
|  | 7440-66-6 | Zinc (Zn) |  |  | N
|  | 7664-41-7N | Ammonia (N) |  |  | N
|  | 7783-06-4 | Hydrogen Sulphide (H2S) |  |  | N
|  | 57-12-5 | Cyanide (CN) Strong Acid Dissoc. |  |  | N
|  | DOC | Dissolved Organic Carbon (C)
|  | 7631-86-9 | Reactive Silica
|  | TOC | Total Organic Carbon (C) |  |  | Y
|  | 16984-48-8 | Fluoride (F)
|  | 20461-54-5 | Iodide (I)
|  | 18496-25-8 | Sulphide
|  | DIC | Dissolved Inorganic Carbon (C)
|  | TIC | Total Inorganic Carbon (C)
|  | 7723-14-0-P | Total Phosphorus (P)
|  | 1338-24-5 | Naphthenic Acids
|  | Phenols | Phenols (4AAP) |  |  | Y
|  | Turb | Turbidity
|  | 50-32-8-EQ | Benzo[a]pyrene equivalency |  |  | Y
|  | 83-32-9 | Acenaphthene |  |  | Y
|  | 208-96-8 | Acenaphthylene |  |  | Y
|  | 260-94-6 | Acridine |  |  | Y
|  | 120-12-7 | Anthracene |  |  | Y
|  | 56-55-3 | Benzo(a)anthracene |  |  | Y
|  | BenzoB&J | Benzo(b&j)fluoranthene |  |  | Y
|  | 207-08-9 | Benzo(k)fluoranthene |  |  | Y
|  | 191-24-2 | Benzo(g,h,i)perylene |  |  | Y
|  | 195-19-7 | Benzo(c)phenanthrene |  |  | Y
|  | 50-32-8 | Benzo(a)pyrene |  |  | Y
|  | 192-97-2 | Benzo(e)pyrene |  |  | Y
|  | 218-01-9 | Chrysene |  |  | Y
|  | 53-70-3 | Dibenz(a,h)anthracene |  |  | Y
|  | 206-44-0 | Fluoranthene |  |  | Y
|  | 86-73-7 | Fluorene |  |  | Y
|  | 193-39-5 | Indeno(1,2,3-cd)pyrene |  |  | Y
|  | 91-57-6 | 2-Methylnaphthalene |  |  | Y
|  | 91-20-3 | Naphthalene |  |  | Y
|  | 95-01-8 | Phenanthrene |  |  | Y
|  | 198-55-0 | Perylene |  |  | Y
|  | 129-00-0 | Pyrene |  |  | Y
|  | 91-22-5 | Quinoline |  |  | Y
|  | 156-59-2 | Cis-1,2-Dichloroethene |  |  | Y | Cis-1,2-DCE
|  | 156-60-5 | Trans-1,2-Dichloroethene |  |  | Y | Trans-1,2-DCE
|  | 71-55-6 | 1,1,1-Trichloroethane |  |  | Y | 1,1,1-TCA
|  | 79-00-5 | 1,1,2-Trichloroethane |  |  | Y | 1,1,2-TCA
|  | 79-01-6 | Trichloroethylene |  |  | Y | TCE
Note on C4: Chemical Abstracts Service Registry Number, or other analyte identifying code, such as STORET code. Where analytes do not have a standard cas_rn, these will need to be agreed upon and communicated to the laboratory. Field measurements e.g. pH and conductivity, can be prefixed or suffixed with 'FIELD' to distinguish them from laboratory measurements.
Note on D4: Name of a chemical used in conjunction with its respective Chemical Abstract Service Registry Number (CAS-RN).
Note on E4: Used to display reported analytes in a specified order, when analyte groups are not being used.
Note on F4: Type of analyte.
Note on G4: Must be "Y" for organic constituents or "N" for inorganic constituents.
Note on H4: Synonym or nickname for analyte. (Example: TCE for trichloroethylene.) Used in EDGE if populated.
Note on I4: Additional comments about the analyte.
Note on C126: Scot: Are these values actually unique? They appear to be the same.
Note on C130: PENNER, TARA: Name changed
Note on C134: Scot: If we are differentiating by using FIELD_TEMP, we probably do not want a more general TEMP, below
Note on C135: Scot: Likely a duplicate of TURB, below

## rt_analytic_method
Reviewer Name: |  | Count: | 78
Review Date:
|  | #analytic_method | preferred_name | base_method | two_surrogate_rule_yn | remark
| source | #Text(20) | Text(255) | Text(20) | Text(1) | Text(2000)
|  | Field Measure | Field Measure
|  | SW6010 | INDUCTIVELY COUPLED PLASMA ATOMIC EMISSION SPECTROSCOPY
|  | SW7471 | MERCURY IN SOLID OR SEMISOLID WASTE (MANUAL COLD-VAPOR TECH)
|  | SW8081 | ORGANOCHLORINE PESTICIDES AND PCBS AS AROCLORS BY GAS CHROMATOGRAPHY C
|  | SW8082 | SW8082
|  | SW8260 | VOLATILE ORGANIC COMPOUNDS BY GAS CHROMATGRAPH/MASS SPECTROMETRY (GC/M
|  | SW8270 | GC/MS FOR SEMIVOLATILE ORGANICS (CAPILLARY COLUMN TECHNIQUE)
|  | SW9060 | TOTAL ORGANIC CARBON
Note on C4: Laboratory analytic method name or description. A controlled vocabulary (i.e., list of valid method names) is not required for the laboratory EDD unless specified by the EQuIS project manager. The method name should be sufficient to reflect operation of the laboratory. For example, "SW8080-pest" and "SW8080-PCB" may be necessary to distinguish between laboratory methods, while "SW8080" may not provide sufficient detail. The codes can either come from the laboratory or the client.
Note on D4: The full name of the analytic method (e.g. Volatile Organic Compounds by Gas Chromatograph/Mass Spectrometry for the 'VOC by GC/MS' method).
Note on E4: May optionally be used to identify the standard method used in a variation of an analytic method. For example, ANALYTIC_METHOD may contain '8260,' in which case the BASE_METHOD would be null. Or, the ANALYTIC_METHOD may contain '8260-B' in which case the BASE_METHOD would be '8260'.
Note on F4: Related to data qualification. A hold over from EQuIS 3's DQM system and is not currently used in EQuIS 5.
Note on G4: Remark
Note on D39: PENNER, TARA: need more details for instrumentation type and specs. This needs to be greatly expanded. Does this go in this table or another one?

## rt_coord_type
Reviewer Name:
Review Date:
|  | #coord_type_code | coord_desc | esri_spatial_ref | remark | SRID
| Source | #Text(20) | Text(255) | Text(1000) | Text(2000) | Text(10)
|  | LAT LONG | Latitude and Longitude (WGS84) | GEOGCS["GCS_WGS_1984",DATUM["D_WGS_1984",SPHEROID["WGS_1984",6378137.0,298.257223563]],PRIMEM["Greenwich",0.0],UNIT["Degree",0.0174532925199433]]
|  | NAD83_UTM_Z_12N_M | NAD 1983 UTM ZONE 12N Units of Meters | PROJCS["NAD_1983_UTM_Zone_12N",GEOGCS["GCS_North_American_1983",DATUM["D_North_American_1983",SPHEROID["GRS_1980",6378137.0,298.257222101]],PRIMEM["Greenwich",0.0],UNIT["Degree",0.0174532925199433]],PROJECTION["Transverse_Mercator"],PARAMETER["False_Easting",500000.0],PARAMETER["False_Northing",0.0],PARAMETER["Central_Meridian",-111.0],PARAMETER["Scale_Factor",0.9996],PARAMETER["Latitude_Of_Origin",0.0],UNIT["Meter",1.0]]
|  | Web Mercator Aux | WGS_1984_Web_Mercator_Auxiliary_Sphere | PROJCS["WGS_1984_Web_Mercator_Auxiliary_Sphere",GEOGCS["GCS_WGS_1984",DATUM["D_WGS_1984",SPHEROID["WGS_1984",6378137.0,298.257223563]],PRIMEM["Greenwich",0.0],UNIT["Degree",0.0174532925199433]],PROJECTION["Mercator_Auxiliary_Sphere"],PARAMETER["False_Easting",0.0],PARAMETER["False_Northing",0.0],PARAMETER["Central_Meridian",0.0],PARAMETER["Standard_Parallel_1",0.0],PARAMETER["Auxiliary_Sphere_Type",0.0],UNIT["Meter",1.0],AUTHORITY["EPSG",3857]]
|  | LOCAL | Local
Note on C4: Coordinate type code.
Note on D4: Textual description of coordinate type.
Note on E4: An abbreviated string description used by ESRI to define the "projection" of the COORD_TYPE_CODE (e.g., CA State Plane Zone 6 (NAD 83)).
Note on F4: Remark
Note on G4: Used to store the spatial reference id, e.g. 4326 for WGS 84 (lat/long) and 2029 for UTM_17N (used by Springfield).

## rt_fraction
Reviewer Name:
Review Date:
|  | #fraction | fraction_desc | remark
| Source | #Text(10) | Text(255) | Text(2000)
|  | D | Dissolved
|  | N | None (e.g. organic)
|  | T | Total
|  | R | Recoverable
Note on C4: Must be either "T" for total [metal] concentration, "D" for dissolved or filtered [metal] concentration, or "N" for organic (or other) constituents for which neither "total" nor "dissolved" is applicable.
Note on D4: The complete description of the fraction code.
Note on E4: Remark

## rt_matrix
Reviewer Name:
Review Date:
|  | #matrix_code | matrix_desc | matrix_class | unit_type | remark
| Source | #Text(10) | Text(70) | Text(20) | Text(50) | Text(2000)
|  | AA | Ambient air | GAS | cpv
|  | AD | Drilling air | GAS | cpv
|  | AS | Soil vapour | GAS | cpv
|  | SL | Sludge | SEDIMENT | cpw
|  | SO | Soil | SOLID | cpw
|  | WG | Groundwater | LIQUID | cpv
|  | WS | Surface Water | LIQUID | cpv
|  | WW | Waste water | LIQUID | cpv
|  | WATER | Water | LIQUID | cpv
|  | LEACHATE | Leachate | LIQUID | cpv
Note on C4: Code which distinquishes between different type of sample matrix. For example, soil samples must be distinguished from ground water samples, and, other valid sample types can be added by the EQuIS user. The matrix of the sample as analyzed may be different from the matrix of the sample as retrieved (e.g., leachates), so this field is required at both the sample and test level.
Note on D4: Textual description of sample matrix. Must be unique.
Note on E4: matrix_class was originally a more general categorization of the matrix_code. This table stores data that Identifies the medium of the matrix (e.g. soil, water, sediment).
Note on F4: Identifies the unit type as concentration per weight (cpw) or concentration per volume(cpv).
Note on G4: Remark
Note on D5: Scot: Do we want to allow an Unknown Water matrix? Might this weaken integrity by allowing someone to say "oh, I won't bother figuring out what the actual matrix is because I can just put "Unknown Water"?

## rt_sample_type
Reviewer Name:
Review Date:
|  | #sample_type_code | sample_type_desc | sample_type_class | needs_parent_sample | system_or_user | remark
| Source | #Text(20) | Text(70) | Text(10) | Text(1) | Text(1) | Text(2000)
|  | BD | Lab Batch Duplicate | LQ | Y
|  | BMS | Lab Batch Matrix Spike | LQ | N
|  | BS | Lab Blank Spike | LQ | N
|  | BSD | Lab Blank Spike Duplicate | LQ | Y
|  | FB | Field Blank | FQ | N
|  | FD | Field Duplicate Sample | FQ | Y
|  | LB | Lab Blank | LQ | N
|  | LR | Lab Replicate | LQ | Y
|  | MB | Method Blank | LQ | N
|  | MS | Matrix Spike | LQ | N
|  | N | Normal Sample | N | N
|  | RM | Certified Reference Material | LQ | N
Note on C4: Sample type code.
Note on D4: Textual description of the sample_type_code, which distinquishes between different type of sample. These textual descriptions must be be unique.
Note on E4: Sample type class. LQ = Lab Quality; FQ = Field Quality
Note on F4: Boolean field. Set equal to TRUE for sample types which are derived from other samples. These would include, for example, duplicates, replicates, matrix spikes, etc. Set equal to FALSE for sample types which are not derived from other samples. These would include, for example, normal field samples, trip blanks, LCS samples, etc.
Note on G4: The EQuIS system recognizes certain pre-defined sample_type_codes. For these sample types this field is set to "S". The user may add additional sample types as needed; this field is set to "U" for these sample types.
Note on H4: Remark

## rt_unit
Reviewer Name:
Review Date:
|  | #unit_code | unit_desc | unit_type | esri_xy | esri_z | remark
| Source | #Text(15) | Text(255) | Text(50) | Numeric | Numeric | Text(2000)
|  | %v/v | percent by volume
|  | 1/s | per second
|  | acre ft | acre feet
|  | acres | acres
|  | bars | bars
|  | cfs | cubic feet per second
|  | cfu/100ml | colony forming units per 100 milliliters
|  | cfu/g | colony forming units per gram
|  | cfu/ml | colony forming units per milliliters
|  | cm | centimeter | length | 8 | 109006
|  | cm/hr | centimeters per hour
|  | cm/sec | centimeters per second
|  | cm/yr | centimeters per year
|  | cm2/sec | square centimeters per second
|  | colf/100ml | coliform bacteria per 100 milliliters
|  | colf/g | coliform bacteria per gram
|  | day | days | time
|  | DD | decimal degree | length | 11 | 9102
|  | deg c | degrees celsius | temperature
|  | deg c/hr | degrees celsius per hour
|  | deg f | degrees fahrenheit | temperature
|  | deg k | degrees Kelvin | temperature
|  | degrees | angle
|  | dm | decimeter | length | 12 | 109005
|  | Domain | Domain
|  | dpy | drums per year
|  | dynes/cm | dynes per centimeter
|  | Eh | Redox potential (volts)
|  | fibers/l | fibers per liter
|  | ft | feet | length | 3 | 9003
|  | ft msl | feet above mean sea level
|  | ft/day | feet per day
|  | ft/in | feet per inch
|  | ft/min | feet per minute
|  | ft/sec | feet per second
|  | ft2 | square feet
|  | ft2/day | square feet per day (cubic feet/day-foot)
|  | ft2/min | feet squared per minute (for units of transmissivity)
|  | ft3 | cubic feet
|  | ft3/day | cubic feet per day
|  | ft3/min | cubic feet per minute
|  | ft3/yr | cubic feet per year
|  | g | grams
|  | g/cc | grams per cubic centimeter
|  | g/g | grams per gram
|  | g/kg | grams per kilogram
|  | g/l | grams per liter
|  | g/m2/yr | grams per square meter per year
|  | g/ml | grams per milliliter
|  | gal | gallons | volume
|  | gal/day | gallons per day | rate-v
|  | gal/hr | gallons per hour | rate-v
|  | gal/min | gallons per minute | rate-v
|  | gal/sec | gallons per second | rate-v
|  | gpd | gallons per day
|  | gpd/ft | gallons per day per foot
|  | gpd/ft2 | gallons per day per foot squared
|  | gpm/ft | gallons per minute per foot
|  | gpy | gallons per year
|  | hrs | hours | time
|  | hrs/day | hours per day
|  | in | inches | length | 1 | 109008
|  | in(hg) | inches of mercury
|  | in/day | inches per day
|  | in/ft | inches per foot
|  | in/hr | inches per hour
|  | in/in | inches per inch
|  | in/wk | inches per week
|  | in2/ft | square inches per foot
|  | kg/1000gal | kilograms per 1000 gallons
|  | kg/batch | kilograms per batch
|  | kg/day | kilograms per day
|  | kg/m3 | kilogram per meter cubed
|  | kg/m3/s | kilogram per meter cubed per second
|  | kg/s | kilogram per second
|  | km | kilometer | length | 10 | 9036
|  | km2 | square kilometers
|  | l | liter | volume
|  | l/day | liters per day | rate-v
|  | l/hr | liters per hour | rate-v
|  | l/min | liters per minute | rate-v
|  | l/sec | liters per second | rate-v
|  | lb/1000lb | pounds per thousand pounds
|  | lb/barrel | pound per barrel
|  | lb/in2 | pounds per square inch
|  | lb/ton | pounds per ton
|  | lbs | pounds | weight
|  | lbs/day | pounds per day
|  | lbs/mon | pounds per month
|  | lbs/yr | pounds per year
|  | m | meter | length | 9 | 9001
|  | m/day | meters per day
|  | m/s | meters per second
|  | m2 | meters squared
|  | m2/s | meters squared per second
|  | m3 x 10(6) | meters cubed (in millions)
|  | m3/kg | meters cubed per kilogram
|  | m3/s | meters cubed per second
|  | meq/100g | milliequivalents per 100 grams
|  | mg/100cm2 | milligrams per 100 square centimeters
|  | mg/flt | milligrams per filter
|  | mg/g | milligrams per gram | cpw
|  | mg/kg | milligrams per kilogram | cpw
|  | mg/l | milligrams per liter | cpv
|  | mg/m2 | milligrams per square meter
|  | mg/m2/day | milligrams per meter squared per day
|  | mg/m3 | milligrams per cubic meter (ppbv)
|  | mg/ml | milligrams per milliliter | cpv
|  | mgal | million gallons
|  | mgd | millions of gallons per day
|  | mgdo/l | milligrams dissolved oxygen per liter
|  | mgm | millions of gallons per month
|  | mgy | millions of gallons per year
|  | mi | mile | length | 5 | 9035
|  | mile2 | square miles
|  | mill ft3 | million feet cubed
|  | millivolts | millivolts
|  | min | minutes | time
|  | ml | milliliter | volume
|  | ml/l | milliliter per liter
|  | mm | millimeter | length | 7 | 109007
|  | mm/m2/hr | millimeter per meter squared per hour
|  | mm/yr | millimeter per year
|  | mmhos/cm | milliohms (mmhos) per centimeter
|  | mol % | mole percent
|  | ng/100cm2 | nanograms per 100 square centimeters
|  | ng/g | nanograms per gram
|  | ng/kg | nanogram per kilogram
|  | ng/l | nanogram per liter
|  | ng/m3 | nanogram per cubic meter
|  | ng/ml | nanograms per milliliter
|  | nmi | nautical mile | length | 6 | 9030
|  | NTU | nephelometric turbidity units
|  | pcf | pounds per cubic foot
|  | pci/g | picocuries per gram | radium-w
|  | pci/l | picocuries per liter | radium-v
|  | pci/mg | picocuries per milligram | radium-w
|  | pci/ml | picocuries per milliliters | radium-v
|  | per loss | percent loss
|  | percent | percent
|  | pg/µl | picograms per microliter
|  | pg/g | picograms per gram
|  | pg/kg | picograms per kilogram
|  | pg/l | picograms per liter
|  | pg/m3 | picograms per cubic meter
Ph
|  | ppb | parts per billion | cpw
|  | ppbv | parts per billion by volume | cpv
|  | ppm | parts per million | cpw
|  | ppmv | parts per million by volume | cpv
|  | pptv | parts per trillion by volume
|  | psf | pounds per square foot | pressure
|  | psi | pounds per square inch | pressure
|  | s | second | time
SpecCond
|  | tons/acre | tons per acre
|  | tons/day | tons per day
|  | ug/100cm2 | micrograms per 100 square centimeters
|  | ug/cm2 | microgram per square centimeter
|  | ug/g | micrograms per gram | cpw
|  | ug/kg | micrograms per kilogram | cpw
|  | ug/l | micrograms/liter | cpv
|  | ug/m3 | micrograms per cubic meter
|  | ug/yr | micrograms per year
|  | um | micrometers | length
|  | um/sec | micrometer per second
|  | umhos/cm | micromhos per centimeter
|  | Unknown | Unknown unit |  | 0
|  | upy | units per year
|  | us/cm | microsiemens per centimeter
|  | yd | yard | length | 4 | 109001
Note on C4: Unit code.
Note on D4: Definition of unit of measure codes.
Note on E4: Defines the type of unit being assigned to a matrix (e.g. weight, volume, time).
Note on F4: ESRI unit constant (0-13) which matches the ESRI unit description.
Note on G4: Converts between different units in the GIS based on units used in the EQuIS database (for example, for depths).
Note on H4: Remark

## rt_location_type
Reviewer Name: |  | NOTE: Reference table for types of sampling locations; parent table to DT_LOCATION
Review Date:
|  | #location_type_code | location_type_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
|  | DISCHARGE_PIPE | Discharge Pipeline
|  | DIVERSION_DITCH | Diversion Ditch
|  | DMP | Dust Monitoring Point
|  | INJ_WELL | Injection Well
|  | LAKE | Lake
|  | MET_STATION | Meteorological Station
|  | MW | Monitoring Well
|  | PIEZO | Piezometer
|  | PIPELINE | Measurements taken from pipeline instrumentation
|  | PROD_BORE | Production Bore
|  | SB | Soil Boring
|  | SPILL | Spill
|  | SPRING | Spring
|  | STREAM | Stream
|  | SUMP | Sump
|  | SURF WATER SAMPLING | Surf Water Sampling
|  | TAILINGS_POND | Tailings Supernatant Water
|  | UNDERDRAIN | Underdrain
|  | WATER_METER | Water Meter
|  | WEIR | Weir
Note on C4: Sampling location type; use codes in loc_type valid value table; primary key field.
Note on D4: Sampling location description (i.e. Monitoring Well 01).
Note on E4: Remark

## rt_mth_anl_group
Reviewer Name:
Review Date:
|  | #method_analyte_group_code | method_analyte_group_desc | method_analyte_group_owner | method_analyte_group_date | short_name | method_yn | facility_id | group_type | remark | var_system | mag_report_order
| Source | #Text(40) | Text(255) | Text(50) | DateTime | Text(30) | Text(1) | Numeric | Text(20) | Text(2000) | Text(20) | Numeric
|  | _PERC DAUGHTERS | PERC Daughter Products |  |  |  | Y
|  | FIELDMEASUREMENTS | Field Measurements |  |  |  | Y
|  | PAHS | Polyaromatic Hydrocarbons |  |  |  | Y
|  | PCBS | Polychlorinated Biphenyls |  |  |  | Y
|  | PRIORITY METALS | EPA Priority Pollutant Metals |  |  |  | Y
|  | SEMI-VOCS | Semi-Volatile Organic Compounds |  |  | SVOCs | Y
|  | SOIL ANALYTES | Analytes for Soil Reporting |  |  |  | Y
|  | SPM_Select_VOCs | Analyte 13 |  |  |  | Y
|  | TOTAL BTEX | Created by SUPER on 7/14/2003 |  |  |  | Y
|  | VOCS | Volatile Organic Compounds |  |  | VOCs | Y
|  | WG ANALYTES | Analytes for Groundwater Reporting |  |  | WG
|  | WS ANALYTES | Analytes for Surface Water Reporting |  |  | WS
Note on C4: Method analyte group code. Can be managed by the 'Groups' tab in EQuIS Professional. Method Analyte Group refered to as MAG.
Note on D4: Textual description of group of method and analyte combinations.
Note on E4: Name of user who created or owns group of method and analyte combinations.
Note on F4: Date when the group of method and analyte combinations was created.
Note on G4: Short name for group.
Note on H4: Boolean flag used to indicate whether this grouping refers to analytes detected by a single method. "Y" = Single method unique cas_rn - one method defined for the whole group, no duplicate cas_rn's. "N" = multiple methods.
Note on I4: The system-generated identifier for the facility.
Note on J4: Allows users to distinguish between types of analyte groups (lab, feld, reporting, etc.). This field may come in useful when configuring report parameter drop-downs using st_report_parameter.data_source.
Note on K4: Remark
Note on L4: var_system
Note on M4: Mag report order.

## rt_mth_anl_group_member
Reviewer Name: |  | Note: Most convienently set up in the EQuIS 'Groups' form, where required analytes can be 'drag and dropped' into the desired Method Analyte Group (MAG)
Review Date:
|  | #method_analyte_group_code | cas_rn | analytic_method | total_or_dissolved | matrix | report_order | default_detect_limit | default_units | default_qualifier | reporting_detect_limit | reporting_units | chemical_name | remark
| Source | #Text(40) | Text(15) | Text(20) | Text(10) | Text(10) | Numeric | Text(14) | Text(15) | Text(7) | Text(14) | Text(15) | Text(255) | Text(2000)
|  | FIELDMEASUREMENTS | pH - FIELD | Field Measure | N | WG | 1 | [5 empty] | pH - Lab
|  | FIELDMEASUREMENTS | DO - FIELD | Field Measure | N | WG | 2 | [5 empty] | pH - field
|  | FIELDMEASUREMENTS | TEMP - FIELD | Field Measure | N | WG | 3 | [5 empty] | Dissolved Oxygen - Field
|  | TOTAL BTEX | 71-43-2 | SW8260 | N | WG | 1 | [5 empty] | Xylenes (Total)
|  | TOTAL BTEX | 108-88-3 | SW8260 | N | WG | 2 | [5 empty] | Benzene
|  | TOTAL BTEX | 100-41-4 | SW8260 | N | WG | 3 | [5 empty] | Toluene
|  | TOTAL BTEX | 1330-20-7 | SW8260 | N | WG | 4 | [5 empty] | Ethylbenzene
Note on C4: Method Analyte Group (MAG) code. Must match those in rt_mth_anl_group
Note on D4: Chemical Abstracts Service Registry Number, or other analyte identifying code, such as STORET code. Must be present in RT_ANALYTE.CAS_RN.
Note on E4: Laboratory analytic method name or description. A controlled vocabulary (i.e., list of valid method names) is not required for the laboratory EDD unless specified by the EQuIS project manager. The method name should be sufficient to reflect operation of the laboratory. For example, "SW8080-pest" and "SW8080-PCB" may be necessary to distinguish between laboratory methods, while "SW8080" may not provide sufficient detail.
Note on F4: Must be either "T" for total [metal] concentration, "D" for dissolved or filtered [metal] concentration, or "N" for organic (or other) constituents for which neither "total" nor "dissolved" is applicable. At project start, EQuIS can be set to always use an asterisk in this field and present its appearance on screens or reports.
Note on G4: Code which distinguishes between different type of sample matrix. For example, soil samples must be distinguished from gound water samples, etc. IRPIMS-style sample matrix codes (see table X02-MTX) are understood by EQuIS, and other valid sample types can be added by the EQuIS user. The matrix of the sample as analyzed may be different from the matrix of the sample as retreived (e.g., leachates), so this field is required at both the sample and test level.
Note on H4: Sort order for hardcopy reports.
Note on I4: Detection limit used for data entry.
Note on J4: Units used for data input.
Note on K4: Default qualifier flag used for data entry (e.g., "U", etc.)
Note on L4: Detection limit used for reporting.
Note on M4: Reporting detection limit units.
Note on N4: Name of a chemical used in conjunction with its respective Chemical Abstract Service Registry Number (CAS-RN).
Note on O4: Remark

## rt_prep_method
Reviewer Name:
Review Date:
|  | #prep_method | preferred_name | base_method | remark
| Source | #Text(20) | Text(255) | Text(20) | Text(2000)
|  | COMPOSITE | Toxicity prep method
|  | 5030 | 5030
Note on C4: Controlled code for analytical methods. Usually supplied by laboratory.
Note on D4: The preferred name of a laboratory's preparation method of a sample.
Note on E4: Base method.
Note on F4: Remark

## rt_qualifier
Reviewer Name: | NOTE: Qualifiers are split into single or duel-character qualifiers and the table has organic fields and inorganic fields (so each qualifier only appears once in the table). A trigger is used to enforce referential integrity in dt_result.
Review Date:
| #qualifier | organic_desc | organic_hit | organic_reject | inorganic_desc | inorganic_hit | inorganic_reject | flag_position | dqm_check_rank | remark
| #Text(2) | Text(255) | Text(1) | Text(1) | Text(255) | Text(1) | Text(1) | Text(6) | Numeric | Text(2000)
| B | Analyte found in associated blank. | N | N | Reported value was obtained from a reading that was less than the Contract Required Detection Limit (CRDL) but greater than or equal to the Instrument Detection Limit (IDL). | Y | N | After
| A | Suspected aldol concentration product. | N | N |  | N | N | After
| D | Compounds at secondary dilution factor. | Y | N | Value from a secondary dilution factor. | Y | N | After
| L | Reported value may be biased low. | Y | N | Reported value may be biased low. | Y | N | After
| R | The sample results are unusable. The analyte may or may not be present in the sample. | N | Y | Rejected | N | Y | After
| BD | Analyte found in associated blank, diluted. | N | N |  | N | N | After
| C | Confirmed by GC/MS. | Y | N |  | N | N
| < | Analyte not detected above the reporting or method detection limit. | N | N | Analyte not detected above the reporting or method detection limit. | N | N | Before
| > | Analyte reported above the reporting or method detection limit. | N | N | Analyte is detected above the reporting or method detection limit, or reported value is greater than threshold limit (e.g. ignitability). | Y | N | Before
Note on C4: Actual value used in data to describe how a lab or third party validator has flagged data. Agree with laboratory.
Note on D4: Indicates the description to be applied to the qualifier if the result is inorganic (the inorganic_yn is stored at the analyte level, so by specifying a cas_rn in dt_result, an organic_yn is inherent based on how the analyte was set up in rt analyte).
Note on E4: Indicates whether an organic qualifier code would allow associated results to be considered a "hit" or not.
Note on F4: Indicates if the result is a rejected or accepted result based on the qualifier.
Note on G4: Indicates the description to be applied to the qualifier if the result is inorganic (the inorganic_yn is stored at the analyte level, so by specifying a cas_rn in dt_result, an organic_yn is inherent based on how the analyte was set up in rt analyte).
Note on H4: Indicates whether an inorganic qualifier code would allow associated results to be considered a "hit" or not.
Note on I4: Indicates if the result is a rejected or accepted result based on the qualifier.
Note on J4: Indicates whether codes should display before or after value.
Note on K4: Supports the ranking of qualifiers and how they get applied using verification software.
Note on L4: Remark

## rt_result_type
Reviewer Name:
Review Date:
|  | #result_type_code | result_type_desc | remark
| Source | #Text(10) | Text(255) | Text(2000)
|  | FIELD | Target, field result
|  | IS | Internal Standards.
|  | SC | Spiked Compounds.
|  | SUR | Surrogates.
|  | TIC | Tentatively Identified Compound.
|  | TRG | Target, regular result.
Note on C4: Must be either "TRG" for a target or regular result, "TIC" for tentatively identified compounds, "SUR" for surrogates, "IS" for internal standards, or "SC" for spiked compounds. Not all of these result types may be required, depending on the needs of the EQuIS project manager and laboratory.
Note on D4: Description of result type code.
Note on E4: Remark

## rt_test_batch_type
Reviewer Name:
Review Date:
|  | #test_batch_type | test_batch_desc | remark
| Source | #Text(10) | Text(70) | Text(2000)
|  | ANALYSIS | Sample analysis batch
|  | LEACH | Leachate batch
|  | PREP | Sample prep/Extraction batch
|  | SDG | Sample Delivery Group
Note on C4: Lab batch type. Valid values include "Prep", "Analysis" and "Leach". Additional valid values may optionally be provided by the EQuIS project manager, (e.g., "SDG"). This is a required field for all batches. Consult with laboratory.
Note on D4: Description of test-level batch type.
Note on E4: Remark

## rt_test_type
Reviewer Name:
Review Date:
|  | #test_type | test_type_desc | remark
| Source | #Text(10) | Text(255) | Text(2000)
|  | DILUTION | Dilution
|  | INITIAL | initial
|  | REANALYSIS | Reanalysis
|  | REEXTRACT | Reextract
Note on C4: Type of test. Valid values inclue "initial", "re-extraction", and "re-analysis". Agree with laboratory.
Note on D4: Test type description.
Note on E4: Remark

## rt_action_level_type
Reviewer Name:
Review Date:
| #action_level_type | action_level_type_desc | depends_on_location | remark
| Site Specific | Site Specific Action Levels | Y
| Federal-U.S. | EPA Cleanup Standards | N
| Local-Regional | Local-Regional Standards | N
| State | State Cleanup Standards | N
To use 'depends_on_location':
The {{DT_ACTION_LEVEL}} table contains the {{SUBFACILITY_CODE}}. This field, in conjunction with {{DT_ACTION_LEVEL.FACILITY_ID}}, can be used to apply action levels to specific locations within a facility. For example, suppose you have only three wells on a site that have specific action levels. You can create a subfacility and assign these wells to that subfacility (using the {{AT_SUBFACILITY_LOCATION}} table). You can then create the action level and set {{DT_ACTION_LEVEL.SUBFACILITY_CODE}} equal to the name of the subfacility you created.

## rt_company
Reviewer Name:
Review Date:
|  | #company_code | company_type | company_name | contact_name | license_nbr | address_1 | address_2 | city | county | state | country | postal_code | phone_number | alt_phone_number | fax_number | email_address | custom_field_1 | custom_field_2 | custom_field_3 | custom_field_4 | custom_field_5 | remark | timezone_code
| Source | #Text(20) | Text(20) | Text(255) | Text(50) | Text(50) | Text(40) | Text(40) | Text(30) | Text(50) | Text(10) | Text(50) | Text(30) | Text(30) | Text(30) | Text(30) | Text(100) | Text(255) | Text(255) | Text(255) | Text(255) | Text(255) | Text(2000) | Text(10)
|  | AM | DRILLING | AM
|  | APS | OTHER | APS
|  | AQTT | LAB | AQUATERRA TESTING, CA
|  | ARIS | LAB | ANALYTICAL RESOURCES INC., SEATTLE, WA
|  | ATS TECH | OTHER | ATS Tech
|  | BSE | ENGINEER | BSE
|  | CAL | LAB | CALIFORNIA ANALYTICAL LAB
|  | CMPR | LAB | COMPUCHEM LABORATORIES, INC., RESEARCH TRIANGLE PARK, NC
|  | TUTORLAB | DATA PROVIDER | TutorLab | J. Smith |  | 300 W. Main Street | Suite 320 | San Francisco |  | CA | USA | 94102 | 800-454-2345 |  |  | info@tutlab.com
|  | UNKNOWN | OTHER | Unknown
Note on C4: Code used to reference a company. Include all companies who are likley to submit data.
Note on D4: Subcontractor type must include LABORATORY. Must be in RT_COMPANY_TYPE.COMPANY_TYPE
Note on E4: The legal business name of the company.
Note on F4: Contact name.
Note on G4: Contractor license number.
Note on H4: First street address line.
Note on I4: Second street address line.
Note on J4: The city or town where the company resides.
Note on K4: Site or area country.
Note on L4: The state where the company resides.
Note on M4: Site or area country.
Note on N4: Site or area postal code.
Note on O4: Site or area phone number.
Note on P4: Site or area alternate phone number.
Note on Q4: Site or area fax number.
Note on R4: Site or area email address.
Note on S4: Custom field.
Note on T4: Custom field.
Note on U4: Custom field.
Note on V4: Custom field.
Note on W4: Custom field.
Note on X4: Remark
Note on Y4: Timezone code

## rt_company_type
Reviewer Name:
Review Date:
|  | #company_type | company_type_desc | remark
| Source | #Text(20) | Text(70) | Text(2000)
|  | AGENCY | State or Federal Agency
|  | CONSULT | Consultant
|  | DATA PROVIDER | Dataprovider
|  | DRILLER | Driller
|  | LABORATORY | Analytical laboratory
|  | OTHER | Other
|  | UNIVERSITY | University
|  | ENGINEER | Engineer
|  | SURVEYOR | Surveyor
Note on C4: Subcontractor type must include LABORATORY
Note on D4: Description of subcontractor type.
Note on E4: Remark

## rt_coord_elev_method
Reviewer Name:
Review Date:
|  | #elev_collect_method_code | elev_collect_method_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
|  | DGPS | Differential GPS
|  | UNKNOWN | Unknown
|  | HGPS | handheld GPS
|  | LEGAL | Legal survey
Note on C4: Method used to determine the ground elevation of the sampling location.
Note on D4: Complete description of the elev_collect_method_code.
Note on E4: Remark

## rt_coord_geometric_type
Reviewer Name:
Review Date:
|  | #geometric_type_code | geometric_type_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
|  | POINT | Point
|  | LINE | Line
|  | POLY | Polygon
Note on C4: Code that defines the geometric entity represented (i.e. Point).
Note on D4: Complete description of the geometric_type_code.
Note on E4: Remark

## rt_coord_horz_datum
Reviewer Name:
Review Date:
|  | #horz_datum_code | horz_datum_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
|  | NAD83 | North American Datum of 1983
|  | NAD27 | North American Datum of 1927
|  | LOCAL | Local coordinate
Note on C4: Horizontal reference datum.
Note on D4: Complete description of the horz_datum_code.
Note on E4: Remark

## rt_coord_horz_method
Reviewer Name:
Review Date:
|  | #horz_collect_method_code | horz_collect_method_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
|  | DGPS | Differential GPS
|  | UNKNOWN | Unknown
|  | HGPS | handheld GPS
|  | LEGAL | Legal survey
|  | DIS | Data interpolated from a survey
|  | DIM | Data interpolated from ArcMap/AutoCAD
Note on C4: Method used to determine the horz_datum.
Note on D4: Complete description of the horz_collect_method_code.
Note on E4: Remark

## rt_equipment_type
Reviewer Name:
Review Date:
|  | #equipment_type | equipment_type_desc | remark
| Source | #Text(30) | Text(255) | Text(2000)
|  | WL_TRANS | Water level transducer
|  | FID | Flame Ionization Detector
|  | GEM | Gas Extraction Monitor
|  | IP | Product Interface Probe
|  | PID | Photoionization Detector
|  | WLT | Standard WL Tape
Note on C4: Type of gear.
Note on D4: Gear type description.
Note on E4: Remark

## rt_file_type
Reviewer Name: |  | NOTE: Contains identifications of file types, nominally extensions (e.g., JPG, TIF, etc.) The type may be associated with an application.
Review Date:
|  | #file_type | app_code | file_type_desc | mime_type | remark
| Source | #Text(20) | Text(30) | Text(255) | Text(255) | Text(2000)
|  | .bmp |  | Bitmap Image | image/bmp
|  | .csv |  | Comma separated values | text/csv
|  | .doc |  | Microsoft Word Document | application/msword
|  | .docx |  | Microsoft Word Document | application/vnd.openxmlformats-officedocument.wordprocessingml.document
|  | .dwg |  | DWG Drawing | image/vnd.dwg
|  | .dxf |  | AutoCAD DXF | image/vnd.dxf
|  | .gif |  | GIF Image | image/gif
|  | .htm |  | HTML File | text/html
|  | .html |  | HTML File | text/html
|  | .jpeg |  | JPEG Image File | image/jpeg
|  | .jpg | JPEG | JPEG Image File | image/jpeg
|  | .kml |  | Google Earth File | application/vnd.google-earth.kmz kmz
|  | .kmz |  | Google Earth File | application/vnd.google-earth.kmz kmz
|  | .mov |  | Quicktime Movie | video/quicktime
|  | .mp3 |  | MP3 Audio | audio/mpeg3
|  | .mp4 |  | DECE MP4 | video/vnd.uvvu.mp4
|  | .mpeg |  | MPEG Video | video/mpeg
|  | .mpg |  | MPEG Video | video/mpeg
|  | .pdf | Adobe | Adobe Acrobat Document | application/pdf
|  | .png |  | Portable Network Graphics | image/png
|  | .pot |  | Microsoft PowerPoint Template | application/vnd.ms-powerpoint
|  | .pps |  | Microsoft PowerPoint Slideshow | application/vnd.ms-powerpoint
|  | .ppt |  | Microsoft PowerPoint Presentation | application/vnd.ms-powerpoint
|  | .pptx |  | Microsoft PowerPoint Presentation | application/vnd.openxmlformats-officedocument.presentationml.presentation
|  | .tif |  | Tag image file format | image/tiff
|  | .tiff |  | Tag image file format | image/tiff
|  | .txt |  | Plain text | text/plain
|  | .xls | Excel | MS Excel File - 2003 Format | application/vnd.ms-excel
|  | .xlsm | Excel | Excel Macro File - 2007 Format | application/vnd.ms-excel
|  | .xlsx | Excel | Excel File - 2007 Format | application/vnd.openxmlformats-officedocument.spreadsheetml.sheet
|  | .xlt | Excel | Microsoft Excel template - 2003 format | application/vnd.ms-excel
|  | .xltm | Excel | Excel Macro Enabled Template File - 2007 Format | application/vnd.ms-excel
|  | .zip | ZIP | Zip File | application/zip
|  | .shp |  | shapefile
Note on C4: File type.
Note on D4: A code to represent the application. This enables application-specific symbol codes and sets.
Note on E4: File type description.
Note on F4: Type of media and character encoding.
Note on G4: Remark

## rt_geologic_unit
Reviewer Name: |  | Note: Geologic units (superset of layers defined in dt_lithology). May include stratigraphy, soil horizons, MODFLOW layers, etc. See also online wiki document W998 for further explantion
Approval Date:
| #geologic_unit_code | geologic_unit_desc | Kh | Kv | porosity | specific_storage | specific_yield | storage_coefficient | organic_carbon | average_transmissivity | remark
| #Text(20) | Text(255) | Numeric | Numeric | Numeric | Numeric | Numeric | Numeric | Numeric | Numeric | Text(2000)
| AQUIFER 1 | Surficial Aquifer | 2.02 | 1.2 | 0.44 | 4.5 | 2.1 | 17.8 | 29.2 | 14
| AQUIFER 2 | Underlying Aquifer | 4.55 | 2.1 | 0.87 | 3.2 | 1.2 | 14.3 | 54.4 | 17
NA
BEDROCK
GLACIAL
Note on B4: nicky arthur: Geologic units (superset of layers defined in dt_lithology). May include stratigraphy, soil horizons, MODFLOW layers, etc.
Note on C4: nicky arthur: Description of geologic unit.
Note on D4: nicky arthur: Horizontal Hydraulic Conductivity.
Note on E4: nicky arthur: Vertical Hydraulic Conductivity.
Note on F4: nicky arthur: Assumed porosity (void area which permits flow of water) of geologic unit. Generally used in flow and transport modeling.
Note on G4: nicky arthur: Assumed specific storage (amount of water that a portion of an aquifer releases from storage, per unit mass or volume of aquifer, per unit change in hydraulic head, while remaining fully saturated) of geologic unit. Generally used in flow and transport modeling.
Note on I4: nicky arthur: Assumed storage coefficient (volume of water released from storage per unit decline in hydraulic head in the aquifer, per unit area of the aquifer) of geologic unit. Also known as "storativity". Generally used in flow and transport modeling.
Note on J4: nicky arthur: Assumed organic carbon content of geologic unit. Generally used in flow and transport modeling.
Note on K4: nicky arthur: Geologic unit average transmissivity, a measure of how much water can be transmitted horizontally, such as to a pumping well. Generally used in flow and transport modeling.

## rt_group
Reviewer Name: |  | NOTE: Reference table for user-defined facility, location, material, and analyte groups; parent table to RT_GROUP_MEMBER and child table to ST_GROUP_TYPE
Review Date:
| #group_code | group_type | group_desc | group_owner | group_date | remark | facility_id
| #Text(40) | Text(30) | Text(255) | Text(50) | DateTime | Text(2000) | Numeric
| Federal-U.S. | action_level_code | EPA Criteria Group
| State | action_level_code | State Criteria Group
| Local-Regional | action_level_code | Local or Regional Criteria Group
| Site Specific | action_level_code | Site Specific Criteria Group
| MONITWELLS | sys_loc_code | Monitoring wells
| SOIL SAMP | sys_loc_code | Soil Samples
Note on B5: nicky arthur: Reference table for user-defined facility, location, material, and analyte groups; parent table to RT_GROUP_MEMBER and child table to ST_GROUP_TYPE
Note on C5: nicky arthur: The type of group used by fn_group_members to compute group members. Possible values are: facility_code; sys_loc_code; action_level_code; sys_sample_code; or material_name.
Note on D5: nicky arthur: Description of a particular group
Note on E5: nicky arthur: Person that created the group.
Note on F5: nicky arthur: Group creation date.
Note on H5: nicky arthur: The system-generated identifier for the facility.

## rt_group_member
Reviewer Name: |  | NOTE: Reference table for members of RT_GROUP
Review Date:
| #group_code | member_code | facility_id | member_type | report_order | display_order | remark
| #Text(40) | Text(60) | Numeric | Text(30) | Numeric | Numeric | Text(2000)
| MONITWELLS | B-30 |  | sys_loc_code
| MONITWELLS | B-31 |  | sys_loc_code
| MONITWELLS | B-32 |  | sys_loc_code
| MONITWELLS | B-33 |  | sys_loc_code
| SOILSAMP | B-31 |  | sys_loc_code
| SOILSAMP | B-33 |  | sys_loc_code
Note on B5: nicky arthur: Group Code from RT_GROUP.
Note on C5: nicky arthur: This field needs to be large enough to accommodate all possible group members including sys_sample_code (40) and equipment_code (60).
Note on E5: nicky arthur: This field allows heterogenous groups. Groups may consists of members of different types. For example, you may create a group that consists of an entire family.

## rt_material
Reviewer Name: |  | NOTE: Materials used to classify layers in dt_lithology. Materials may be grouped (AASHTO, USCS, USDA, etc.) in rt_group using group_type=material_name.
Review Date:
|  | #material_name | material_desc | red_val | green_val | blue_val | pattern | remark | fill_percent
| Source | #Text(40) | Text(255) | Numeric | Numeric | Numeric | Text(255) | Text(2000) | Numeric
|  | A-1-A | Well-graded gravel (< 31% passing No. 40 sieve). | 79 | 79 | 79
|  | A-1-B | Well-graded coarse sand (< 51% passing No. 40 sieve). | 143 | 137 | 80
|  | A-2-4 | Gravel, coarse sand w/ silt (LL <= 40; PI <= 10). | 128 | 128 | 192
|  | A-2-5 | Gravel, coarse sand w/ silt (LL >= 41; PI <= 10). | 128 | 128 | 255
|  | A-2-6 | Gravel, coarse sand w/ clay (LL <= 40; PI >= 11). | 223 | 86 | 40
|  | A-2-7 | Gravel, coarse sand w/ clay (LL >= 41; PI >= 11). | 251 | 35 | 4
|  | A-3 | Fine sand (> 50% passing No. 40 sieve). | 223 | 223 | 0
|  | A-4 | Silts; > 75% passes No. 200 sieve. | 0 | 255 | 0
|  | A-5 | Elastic silts, usually diatomaceous or micaceous. | 0 | 255 | 255
|  | A-6 | Clays, plastic clays; > 75% passes No. 200 sieve. | 155 | 19 | 19
|  | A-7-5 | Clays w/ moderate plasticity; highly elastic; subject to considerable volume change. | 0 | 128 | 255
|  | A-7-6 | Clays w/ moderate plasticity; highly elastic; subject to extreme volume change. | 255 | 0 | 0
|  | ALBITIZED | ALBITIZED | 180 | 137 | 148
|  | ALLUVIUM | ALLUVIUM | 74 | 77 | 198
|  | ANDESITE | ANDESITE | 4 | 194 | 208
|  | ANHYDRITIC DOLOSTONE | ANHYDRITIC DOLOSTONE | 183 | 136 | 144
|  | ARCHIMEDES | ARCHIMEDES | 220 | 202 | 96
|  | ARENACEOUS DOLOSTONE | ARENACEOUS DOLOSTONE | 56 | 120 | 191
|  | ARENACEOUS LIMESTONE | ARENACEOUS LIMESTONE | 192 | 102 | 231
|  | ARENACEOUS SHALE | ARENACEOUS SHALE | 191 | 23 | 162
|  | ARGILLACEOUS | ARGILLACEOUS | 246 | 223 | 15
|  | ARGILLACEOUS DOLOSTONE | ARGILLACEOUS DOLOSTONE | 182 | 4 | 110
|  | ARGILLACEOUS LIMESTONE | ARGILLACEOUS LIMESTONE | 103 | 71 | 252
|  | ARGILLACEOUS SANDSTONE | ARGILLACEOUS SANDSTONE | 205 | 178 | 107
|  | ARGILLIC | ARGILLIC | 196 | 14 | 152
|  | ARGILLITE | ARGILLITE | 120 | 77 | 159
|  | ARGILLIZED | ARGILLIZED | 243 | 93 | 134
|  | ASPHALT | ASPHALT | 166 | 68 | 72
|  | BASEMENT | BASEMENT | 212 | 211 | 151
|  | BEDROCK | BEDROCK | 252 | 233 | 58
|  | BENTONITE | BENTONITE | 178 | 250 | 63
|  | BIOTITE HORNFELS | BIOTITE HORNFELS | 188 | 71 | 91
|  | BLANK | BLANK | 137 | 28 | 255
|  | BONY | BONY | 173 | 5 | 147
|  | BRECCIA | BRECCIA | 26 | 27 | 204
|  | BRYOZOAN LIMESTONE | BRYOZOAN LIMESTONE | 111 | 241 | 31
|  | CALCAREOUS DOLOMITE | CALCAREOUS DOLOMITE | 48 | 20 | 111
|  | CALCAREOUS DOLOSTONE | CALCAREOUS DOLOSTONE | 245 | 139 | 127
|  | CALCAREOUS MUDSTONE | CALCAREOUS MUDSTONE | 165 | 89 | 27
|  | CALCAREOUS SANDSTONE | CALCAREOUS SANDSTONE | 249 | 56 | 97
|  | CALCAREOUS SILTSTONE | CALCAREOUS SILTSTONE | 101 | 72 | 129
|  | CALCIFIED | CALCIFIED | 73 | 12 | 76
|  | CALCITE | CALCITE | 98 | 77 | 242
|  | CALCITE VEINING | CALCITE VEINING | 36 | 132 | 247
|  | CAP | cap | 250 | 103 | 71
|  | CARBONATE | CARBONATE | 41 | 42 | 165
|  | CEMENT | CEMENT | 105 | 106 | 182
|  | CH | Inorganic clays of high plasiticity, fat clays. | 0 | 0 | 255
|  | CHALCOPYRITE | CHALCOPYRITE | 84 | 162 | 53
|  | CHERT | CHERT | 117 | 231 | 67
|  | CHERTY LIMESTONE | CHERTY LIMESTONE | 143 | 232 | 168
|  | CHLORITIZED | CHLORITIZED | 48 | 149 | 21
|  | CL | Inorganic clays of low to medium plasticity, gravelly clays, sandy clays, silty clays, lean clays. | 0 | 255 | 0
|  | CL-ML | Inorganic clayey silts of low plasticity. | 255 | 128 | 255
|  | CLAY | CLAY | 255 | 0 | 0
|  | CLAY LOAM | CLAY LOAM | 255 | 123 | 123
|  | CLAYSTONE | CLAYSTONE | 235 | 162 | 161
|  | COAL | COAL | 110 | 25 | 144
|  | COLLUVIUM | COLLUVIUM | 178 | 233 | 213
|  | CONGLOMERATE | CONGLOMERATE | 6 | 139 | 234
|  | DEVITRIFIED | DEVITRIFIED | 110 | 173 | 129
|  | DIABASE | DIABASE | 132 | 119 | 91
|  | DOLOMITE | DOLOMITE | 104 | 69 | 15
|  | DOLOMITIC LIMESTONE | DOLOMITIC LIMESTONE | 113 | 177 | 17
|  | DOLOMITIC MUDSTONE | DOLOMITIC MUDSTONE | 193 | 179 | 127
|  | DOLOSTONE | DOLOSTONE | 63 | 250 | 16
|  | ENDOSKARN | ENDOSKARN | 100 | 94 | 125
|  | FAULT | FAULT | 40 | 121 | 66
|  | FINE SAND | FINE SAND | 40 | 58 | 84
|  | FOLDED SCHIST | FOLDED SCHIST | 201 | 13 | 133
|  | GALENA | GALENA | 161 | 139 | 40
|  | GARNET SKARN | GARNET SKARN | 194 | 205 | 83
|  | GC | Clayey gravels, gravel-sand-clay mixture. | 173 | 71 | 71
|  | GC-GM | Clayey silty gravels. | 128 | 64 | 0
|  | GM | Silty gravels, gravel-sand-silt mixture. | 119 | 97 | 38
|  | GNEISS | GNEISS | 240 | 167 | 130
|  | GP | Poorly graded gravels or gravel-sand mixtures, little or no fines. | 207 | 207 | 207
|  | GP-GC | Poorly graded clayey gravels. | 133 | 35 | 24
|  | GP-GM | Poorly graded silty gravels. | 235 | 197 | 124
|  | GRANITE | GRANITE | 100 | 28 | 200
|  | GRANODIORITE | GRANODIORITE | 118 | 193 | 153
|  | GRAVEL | GRAVEL | 213 | 5 | 54
|  | GRAVELLY SAND | GRAVELLY SAND | 3 | 193 | 207
|  | GW | Well-graded gravels, gravel-sand mixtures, little or no fines. | 79 | 79 | 79
|  | GW-GC | Well-graded clayey gravels. | 171 | 160 | 67
|  | GW-GM | Well-graded silty gravels. | 244 | 181 | 11
|  | GYPSUM | GYPSUM | 19 | 27 | 85
|  | JASPEROID | JASPEROID | 33 | 1 | 137
|  | KAOLINIZED | KAOLINIZED | 168 | 139 | 211
|  | LATITE | LATITE | 21 | 49 | 174
|  | LIMESTONE | LIMESTONE | 116 | 92 | 39
|  | LIMESTONE MUDSTONE | LIMESTONE MUDSTONE | 249 | 206 | 173
|  | LIMESTONE WITH SHALE INTERBEDS | LIMESTONE WITH SHALE INTERBEDS | 231 | 224 | 107
|  | LIMESTONE WITH SHALE STRINGERS | LIMESTONE WITH SHALE STRINGERS | 32 | 244 | 204
|  | LOAM | LOAM | 192 | 192 | 192
|  | LOAMY SAND | LOAMY SAND | 128 | 128 | 64
|  | LOST CIRCULATION | LOST CIRCULATION | 178 | 103 | 5
|  | MAFIC INTRUSIVE | MAFIC INTRUSIVE | 43 | 42 | 130
|  | MARBLE | MARBLE | 180 | 237 | 136
|  | METADOLOMITE | METADOLOMITE | 23 | 194 | 103
|  | MH | Inorganic silts, micaceous or diatomaceous fine sandy or silty soils, elastic silts. | 128 | 0 | 255
|  | ML | Inorganic silts and very fine sands, rock flour, silty or clayey fine sands or clayey silts with slight plasticity. | 0 | 255 | 255
|  | NO CIRCULATION | No Circulation | 104 | 28 | 71
|  | NULL | NULL | 0 | 0 | 0
|  | OH | Organic clays of medium to high plasticity, organic silts. | 255 | 0 | 128
|  | OIL SHALE | OIL SHALE | 118 | 126 | 53
|  | OL | Organic silts and organic silty clays of low plasticity. | 0 | 128 | 255
|  | OOLITIC LIMESTONE | OOLITIC LIMESTONE | 164 | 217 | 127
|  | OXIDIZED | OXIDIZED | 85 | 25 | 151
|  | PEBBLES | PEBBLES | 44 | 237 | 25
|  | PHYLLIC | PHYLLIC | 114 | 70 | 223
|  | PT | Peat and other highly organic soils. | 0 | 128 | 192
|  | PYRITE | PYRITE | 192 | 70 | 172
|  | PYRITIC | PYRITIC | 66 | 23 | 8
|  | PYROXENE | PYROXENE | 83 | 202 | 76
|  | PYROXENE HORNFELS | PYROXENE HORNFELS | 48 | 229 | 96
|  | QUARTZ | QUARTZ | 87 | 12 | 124
|  | QUARTZ LATITE | QUARTZ LATITE | 156 | 96 | 100
|  | QUARTZ VEIN | QUARTZ VEIN | 83 | 197 | 56
|  | QUARTZ VEINING | QUARTZ VEINING | 114 | 61 | 224
|  | QUARTZITE | QUARTZITE | 60 | 123 | 65
|  | RHYODACITE | RHYODACITE | 53 | 221 | 151
|  | RHYOLITE | RHYOLITE | 193 | 237 | 85
|  | SALT | SALT | 139 | 21 | 162
|  | SAND | SAND | 255 | 255 | 0
|  | SAND PEBBLES | SAND PEBBLES | 220 | 150 | 238
|  | SANDSTONE | SANDSTONE | 236 | 159 | 89
|  | SANDY CLAY | SANDY CLAY | 255 | 121 | 0
|  | SANDY CLAY LOAM | SANDY CLAY LOAM | 255 | 0 | 128
|  | SANDY GRAVEL | SANDY GRAVEL | 73 | 76 | 197
|  | SANDY LIMESTONE | SANDY LIMESTONE | 132 | 85 | 222
|  | SANDY LOAM | SANDY LOAM | 191 | 187 | 38
|  | SANDY SILT | SANDY SILT | 67 | 67 | 46
|  | SC | Clayey sands, sand-clay mixture. | 221 | 55 | 0
|  | SC-SM | Clayey silty sands. | 64 | 0 | 128
|  | SCHIST | SCHIST | 39 | 123 | 56
|  | SCREEN | screen | 254 | 34 | 8
|  | SERICITIZED | SERICITIZED | 89 | 140 | 236
|  | SERPENTINE | SERPENTINE | 138 | 104 | 217
|  | SERPENTINIZED | SERPENTINIZED | 211 | 172 | 185
|  | SHALE | SHALE | 255 | 87 | 127
|  | SHALE AND LIMESTONE INTERBEDS | SHALE AND LIMESTONE INTERBEDS | 89 | 1 | 190
|  | SHALE WITH LIMESTONE INTERBEDS | SHALE WITH LIMESTONE INTERBEDS | 215 | 72 | 180
|  | SHALY LIMESTONE | ANHYDRITE | 181 | 12 | 106
|  | SHATTERED | SHATTERED | 59 | 158 | 125
|  | SHEARED | SHEARED | 174 | 227 | 95
|  | SILIFIED | SILIFIED | 106 | 178 | 46
|  | SILT | SILT | 128 | 64 | 0
|  | SILTACEOUS SHALE | SILTACEOUS SHALE | 112 | 20 | 105
|  | SILTSTONE | SILTSTONE | 138 | 110 | 130
|  | SILTY CLAY | SILTY CLAY | 128 | 32 | 0
|  | SILTY CLAY LOAM | SILTY CLAY LOAM | 0 | 0 | 255
|  | SILTY LIMESTONE | SILTY LIMESTONE | 87 | 182 | 80
|  | SILTY LOAM | SILTY LOAM | 0 | 255 | 0
|  | SILTY SAND | SILTY SAND | 179 | 136 | 147
|  | SKARN | SKARN | 136 | 57 | 150
|  | SKARNED | SKARNED | 78 | 75 | 39
|  | SM | Silty sands, sand-silt mixture. | 255 | 128 | 0
|  | SNOWFLAKE OBSIDIAN | SNOWFLAKE OBSIDIAN | 204 | 39 | 152
|  | SP | Poorly graded sands or gravelly sands, little or no fines. | 255 | 255 | 128
|  | SP-SC | Poorly graded clayey sands. | 0 | 128 | 64
|  | SP-SM | Poorly graded silty sands. | 0 | 128 | 192
|  | STROMATOLITES | STROMATOLITES | 93 | 224 | 122
|  | SW | Well-graded sands, gravelly sands, little or no fines. | 255 | 255 | 0
|  | SW-SC | Well-graded clayey sands. | 183 | 209 | 35
|  | SW-SM | Well-graded silty sands. | 0 | 0 | 160
|  | TALC | TALC | 49 | 175 | 191
|  | TAR SAND | TAR SAND | 244 | 63 | 240
|  | TILL | TILL | 157 | 200 | 42
|  | TILTED LIMESTONE | TILTED LIMESTONE | 30 | 251 | 162
|  | TOPSOIL | TOPSOIL | 206 | 52 | 244
|  | TREMOLITE | TREMOLITE | 17 | 16 | 203
|  | TREMOLITE HORNFELS | TREMOLITE HORNFELS | 153 | 231 | 147
|  | TREMOLITE MARBLE | TREMOLITE MARBLE | 63 | 220 | 20
|  | TUFF | TUFF | 97 | 119 | 31
|  | UNKNOWN | UNKNOWN | 0 | 0 | 0
|  | UPPER BACKFILL | UPPER BACKFILL | 112 | 194 | 63
|  | UPPER SEAL | UPPER SEAL | 97 | 102 | 135
|  | VERY COARSE SANDSTONE | VERY COARSE SANDSTONE | 69 | 149 | 54
|  | VITROPHYRE | VITROPHYRE | 30 | 45 | 13
Note on C4: Name used to uniquely identify material.
Note on D4: General description of material.
Note on E4: Red RGB value for material. Color rendered in some third-party applications.
Note on F4: Green RGB value for material. Color rendered in some third-party applications.
Note on G4: Blue RGB value for material. Color rendered in some third-party applications.
Note on H4: Materal pattern code, may be used in some third-party applications.
Note on I4: Remark
Note on J4: Fill percent.

## rt_matrix_class
Reviewer Name:
Review Date:
|  | #matrix_class | matrix_class_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
|  | SOLID | Solid
|  | LIQUID | Liquid
|  | GAS | Gaseous
|  | SEDIMENT | Sediment
Note on C4: Identifies the medium of the Matrix, (e.g. Solid, etc.)
Note on D4: Contains a brief description of the matrix class.
Note on E4: Remark

## rt_preservative
Reviewer Name: |  | NOTE: This table describes the sample preservation used.
Review Date:
|  | #preservative | preservative_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
|  | BrCl | Bromine Monochloride
|  | C6H8O6-HCL | Ascorbic / Hydrochloric Acid
|  | DIWATER | DI Water
|  | H2SO4 | Sulfuric Acid
|  | H3PO4 | Phosphoric Acid
|  | HCL | Hydrochloric Acid
|  | HNO3 | Nitric Acid
|  | K2Cr2O7 | Potassium Chromate
|  | MeOH | Methanol
|  | Na2CO3 | Sodium Carbonate
|  | Na2S2O3 | Sodium Thiosulfate
|  | NaHSO4 | Sodium Bisulfate
|  | NaOH | Sodium Hydroxide
|  | NaOH+ZnAC | Sodium Hydroxide and Zinc Acetate
|  | TEMP | Temperature
|  | Unknown | Unknown Preservative
|  | UNPRES | Unpreserved
|  | ZnOAC | Zinc Acetate
Note on C4: Sample preservation used. This is an optional field for laboratory EDD unless otherwise specified by the EQuIS project manager.
Note on D4: Description of the preservation used.
Note on E4: Remark

## rt_sample_method
Reviewer Name:
Review Date:
|  | #method_code | method_desc | dmr_sample_type | remark
| Source | #Text(40) | Text(255) | Text(15) | Text(2000)
|  | PERCUSSION DRILLING | Composite Sample
PUSHED SHELBY-TUBE
ROTARY CORE
Note on C4: The sample method code.
Note on D4: Description of the sample method.
Note on E4: DMR sample type.
Note on F4: Remark

## rt_state
Reviewer Name:
Review Date:
|  | #state_code | state_name | remark
| Source | #Text(10) | Text(255) | Text(2000)
|  | AB | Alberta
|  | BC | British Columbia
|  | CO | Colorado
|  | ON | Ontario
Note on C4: The unique code by which each state or province is identified.
Note on D4: The name of the state or province described by STATE_CODE.
Note on E4: Remark

## rt_subfacility_type
Reviewer Name:
Initials:
Approval Date:
| #subfacility_type | subfacility_desc | remark
| #Text(20) | Text(255) | Text(2000)
Note on B6: nicky arthur: The subfacility type (ie: Industrial or Residential).

## rt_unit_conversion_factor
Reviewer Name:
Review Date:
|  | #reported_unit | target_unit | conversion_factor | delta | remark | formula | a | b | c | d | e
| Source | #Text(15) | Text(15) | Numeric | Numeric | Text(2000) | Numeric | Numeric | Numeric | Numeric | Numeric | Numeric
|  | cm | ft | 0.032808399
|  | cm | in | 0.39370079
|  | cm | m | 0.01
|  | cm | mm | 10
|  | cm | yd | 0.010936133
|  | ft | cm | 30.48
|  | ft | in | 12
|  | ft | m | 0.3048
|  | ft | mm | 304.8
|  | ft | yd | 0.333333
|  | gal/day | gal/hr | 0.0416666
|  | gal/day | gal/min | 0.0006944
|  | gal/day | gal/sec | 1.15E-05
|  | gal/day | l/day | 3.7854118
|  | gal/day | l/hr | 0.1577252
|  | gal/day | l/min | 0.0026285
|  | gal/day | l/sec | 4.35E-05
|  | gal/hr | gal/day | 24
|  | gal/hr | gal/min | 0.016666
|  | gal/hr | gal/sec | 0.0002777
|  | gal/hr | l/day | 90.849883
|  | gal/hr | l/hr | 3.7854118
|  | gal/hr | l/min | 0.0630901
|  | gal/hr | l/sec | 0.0010515
|  | gal/min | gal/day | 1440
|  | gal/min | gal/hr | 60
|  | gal/min | gal/sec | 0.016666
|  | gal/min | l/hr | 227.1247
|  | gal/sec | gal/day | 86400
|  | gal/sec | gal/hr | 3600
|  | gal/sec | gal/min | 60
|  | in | cm | 2.54
|  | in | ft | 0.0825
|  | in | m | 0.0254
|  | in | mm | 25.4
|  | in | yd | 0.0277777
|  | l/day | l/hr | 0.0416666
|  | l/day | l/min | 0.0006944
|  | l/day | l/sec | 1.15E-05
|  | l/hr | l/day | 24
|  | l/hr | l/min | 0.016666
|  | l/hr | l/sec | 0.0002777
|  | l/min | l/day | 1440
|  | l/min | l/hr | 60
|  | l/min | l/sec | 0.016666
|  | l/sec | l/day | 86400
|  | l/sec | l/hr | 3600
|  | l/sec | l/min | 60
|  | m | cm | 100
|  | m | ft | 3.2808399
|  | m | in | 39.370079
|  | m | mm | 1000
|  | m | um | 1E-06
|  | m | yd | 1.0936133
|  | mg/g | mg/kg | 1000
|  | mg/g | ppb | 1000000
|  | mg/g | ppm | 1000
|  | mg/g | ug/g | 1000
|  | mg/g | ug/kg | 1000000
|  | mg/kg | mg/g | 0.001
|  | mg/kg | ppb | 1000
|  | mg/kg | ppm | 1
|  | mg/kg | ug/g | 1
|  | mg/kg | ug/kg | 1000
|  | mg/l | mg/ml | 0.001
|  | mg/l | ppbv | 1000
|  | mg/l | ppmv | 1
|  | mg/l | ug/l | 1000
|  | mg/ml | ppbv | 1000000
|  | mg/ml | ppmv | 1000
|  | mg/ml | ug/l | 1000000
|  | min | s | 60
|  | mm | cm | 0.1
|  | mm | ft | 0.00328083
|  | mm | in | 0.039370079
|  | mm | m | 0.001
|  | mm | yd | 0.0936133
|  | pci/g | pci/mg | 0.001
|  | pci/l | pci/ml | 0.001
|  | pci/mg | pci/g | 1000
|  | pci/ml | pci/l | 1000
|  | ppb | mg/g | 1E-06
|  | ppb | mg/kg | 0.001
|  | ppb | ppm | 0.001
|  | ppb | ug/g | 0.001
|  | ppb | ug/kg | 1
|  | ppb | ug/l | 1
|  | ppbv | mg/ml | 1E-06
|  | ppbv | ppmv | 0.001
|  | ppbv | ug/l | 1
|  | ppm | mg/g | 0.001
|  | ppm | mg/kg | 1
|  | ppm | ppb | 1000
|  | ppm | ug/g | 1
|  | ppm | ug/kg | 1000
|  | ppm | ug/l | 1000
|  | ppmv | mg/ml | 0.001
|  | ppmv | ppbv | 1000
|  | ppmv | ug/l | 1000
|  | psf | psi | 0.0069444
|  | psi | psf | 144
|  | s | min | 0.01666667
|  | ug/g | mg/g | 0.001
|  | ug/g | mg/kg | 1
|  | ug/g | ppb | 1000
|  | ug/g | ppm | 1
|  | ug/g | ug/kg | 1000
|  | ug/kg | mg/g | 1E-06
|  | ug/kg | mg/kg | 0.001
|  | ug/kg | ppb | 1
|  | ug/kg | ppm | 0.001
|  | ug/kg | ug/g | 0.001
|  | ug/l | mg/l | 0.001
|  | ug/l | mg/ml | 1E-06
|  | ug/l | ppb | 1
|  | ug/l | ppbv | 1
|  | ug/l | ppm | 0.001
|  | ug/l | ppmv | 0.001
|  | yd | cm | 91.44
|  | yd | ft | 3
|  | yd | in | 36
|  | yd | m | 0.9144
|  | yd | mm | 0.0009144
Note on C4: Reported unit.
Note on D4: Target unit.
Note on E4: Conversion factor that when multiplied with the reported unit gives the target unit. Must provide conversion both ways, e.g. cm to m and m to cm.
Note on F4: Enhances the unit conversion function for conversions that use a sum along with a multiplication factor (e.g., when doing temperature conversions).
Note on G4: Remark
Note on H4: Formula

## rt_well_segment_type
Reviewer Name:
Review Date:
|  | #segment_type | segment_type_desc | material_type_code | material_type_desc | remark | use_inner_diam_yn
| Source | #Text(20) | Text(255) | Text(20) | Text(255) | Text(2000) | Text(1)
|  | BENTONITE |  | BENTONITE
|  | CAP |  | STAINLESS STEEL
|  | CASING |  | PVC
|  | CASING | casing | PVC SCH 40 | PVC sch 40
|  | CONCRETE PLUG |  | BENTONITE
|  | CONCRETE PLUG |  | CONCRETE
|  | CONCRETE PLUG |  | STAINLESS STEEL
|  | GRAVEL |  | GRAVEL
|  | GROUTED ANNULUS | Grouted Annulus | BENTONITE | Bentonite
|  | GROUTED ANNULUS |  | GROUT
|  | RISER | Riser | PVC SCH 80 | PVC Schedule 80
|  | SCREEN | Screen | STAINLESS STEEL | Stainless Steel
|  | SURFACE |  | N/A
|  | THREADED JOINTS |  | STAINLESS STEEL
|  | UPPER SEAL |  | BENTONITE
|  | WELL POINT PACK |  | WELL-GRADED GRAVEL
Note on C4: The segment of the well being described (e.g., casing, riser, seal, filter pack, screen).
Note on D4: A description of the well segment type.
Note on E4: The code for the material of the well segment.
Note on F4: A description of the material of the well segment.
Note on G4: Remark
Note on H4: Remark

## rt_analyte_detail
Reviewer Name:
Approval Date:
| #cas_rn | specific_gravity | formula_weight | acidic_yn | standard_unit | equivalent_weight | remark | half_life_years
| #Text(15) | Numeric | Numeric | Text(1) | Text(15) | Numeric | Text(2000) | Numeric
Note on B5: nicky arthur: Chemical Abstracts Service Registry Number, or other analyte identifying code, such as STORET code.
Note on C5: nicky arthur: The ratio of the density of a given solid or liquid substance to the density of water at a specific temperature and pressure, typically at 4 °C (39 °F) and 1 atm.
Note on D5: nicky arthur: Formula weight of the analyte being referenced
Note on E5: nicky arthur: Indicates if an organic parameter is acidic (y) or basic (n). Common designation for qualification of parameters with surrogate problems.
Note on F5: nicky arthur: Contains the standard unit used for a respective analyte. This is commonly used for reporting when the units need to be standardized.
Note on G5: nicky arthur:

## rt_basin
Reviewer Name:
Approval Date:
| #basin_code | basin_type | basin_name | remark
| #Text(20) | Text(10) | Text(100) | Text(2000)

## rt_coord_elev_datum
Reviewer Name:
Review Date:
|  | #elev_datum_code | elev_datum_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
|  | EMSL | Elevation from mean sea-level
|  | Local | Local Benchmark
|  | NA | Not applicable
|  | OTHER | Other
|  | UNKNOWN | Unknown
Note on C4: Reference datum for the elevation measurement.
Note on D4: Complete description of the elev_datum_code.
Note on E4: Remark

## rt_location_param_type
Reviewer Name: |  | NOTE: Reference table for location parameter types, e.g., Section, Township, and Range; parent table to DT_LOCATION_PARAMETER
Review Date:
|  | #param_code | param_desc | standard_unit | remark
| Source | #Text(20) | Text(255) | Text(15) | Text(2000)
Note on C4: This could be a cas_rn or a soil_gas_parameter or a location parameter or a sample parameter or any other parameter (such as water level) as allowed by the EQuIS project manager. Chemical Abstract Registry Number for the parameter if available.
Note on D4: Location parameter description.
Note on E4: Contains the standard unit for this analyte. This is useful for some data, such as basic results where the unit is always the same for a particular analyte.
Note on F4: Remark

## rt_lookup
Reviewer Name: |  | NOTE: Allows EDP to enforce a set of lookup values.
Approval Date:
| #lookup_type | lookup_code | lookup_desc | remark
| #Text(30) | Text(20) | Text(255) | Text(2000)
Note on B5: nicky arthur: Stores data pertaining to the lookup type being defined
Note on C5: nicky arthur: Code set by user to identify lookup value
Note on D5: nicky arthur: Directory path location of lookup value.

## rt_sample_param_type
Reviewer Name:
Review Date:
|  | #param_code | param_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
Note on C4: This could be a cas_rn or a soil_gas_parameter or a location parameter or a sample parameter or any other parameter (such as water level) as allowed by the EQuIS project manager. Chemical Abstract Registry Number for the parameter if available.
Note on D4: Sample parameter description.
Note on E4: Remark

## rt_valid_code
Reviewer Name:
Review Date:
|  | #accept_code | accept_desc | remark
| Source | #Text(10) | Text(255) | Text(2000)
|  | A | accept
|  | NV | not valid
|  | Q | accept with qualifications
|  | R | reject/ review
|  | U | unvalidated
|  | Z | unknown status
Note on C4: This field may have the following values as defined: A = Accept, NV = Not valid, Q=Accept with Qualifications, R= Reject, U= Unvalidated, Z= Unknown status.
Note on D4: Provides a brief description of the accept_code.
Note on E4: Remark

## rt_coord_verification
Reviewer Name:
Review Date:
| #verification_code | verification_desc | remark
| #Text(20) | Text(255) | Text(2000)
Note on B5: nicky arthur: Code that represents the process used to verify the coordinate information (i.e. Ground Truth).

## rt_downhole_point_param_type
Reviewer Name:
Review Date:
|  | #param | param_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
Note on C4: Name of parameter observed or measured at this point (e.g., Tip Stress).
Note on D4: Description of parameter.
Note on E4: Remark

## rt_geo_unit_type
Reviewer Name:
Approval Date:
| #geo_unit_type | geo_unit_type_desc | geo_unit_number | remark
| #Text(20) | Text(255) | Numeric | Text(2000)
| GEOLOGICUNIT1 | GeologicUnit1 | 1
| GEOLOGICUNIT2 | GeologicUnit2 | 2
| GEOLOGICUNIT3 | GeologicUnit3 | 3
| GEOLOGICUNIT4 | GeologicUnit4 | 4
| GEOLOGICUNIT5 | GeologicUnit5 | 5
Note on B5: nicky arthur: Type of geological unit

## rt_medium
Reviewer Name:
Review Date:
|  | #medium_code | medium_desc | remark
| Source | #Text(10) | Text(255) | Text(2000)
|  | AIR | Air Sample
|  | BIOLOGICAL | Biological Sample
|  | SEDIMENT | Sediment Sample
|  | SOIL | Soil Sample
|  | WATER | Water Sample
Note on C4: Code for medium.
Note on D4: Description of medium.
Note on E4: Remark

## rt_soil_gas_param_type
Reviewer Name: |  | NOTE: This table describes the types of parameters for gases surveyed in soil.
Review Date:
|  | #param_code | param_desc | remark
| Source | #Text(20) | Text(255) | Text(2000)
|  | Balance | Remaining Partial Pressure of Unmeasured Gases
|  | Baro. Press. | Barometric Pressure
|  | CH4 | Partial Pressure of Methane
|  | CO2 | Partial Pressure of Carbon Dioxide
|  | Init. Flow | Initial Flow
|  | O2 | Partial Pressure of Oxygen
Note on C4: This could be a cas_rn or a soil_gas_parameter or a location parameter or a sample parameter or any other parameter (such as water level) as allowed by the EQuIS project manager. Chemical Abstract Registry Number for the parameter if available.
Note on D4: Parameter description.
Note on E4: Remark